ILT960 Driver Installation Manual

1. Open “ILT960 driver” folder, right click the “DriverInstaller.exe”, choose “run as administrator” option.

Note: Do not double click the “DriverInstaller.exe”. It will end up failed installation. Right click please.

2. Enter whatever password or authorization needed for the administrator authority. Click “Install” when the following window pop up:

3. You will see the following window if driver is installed successfully.

4. Confirm: plug in ILT960 and open device manager, under “image” section, you will see “ILT960” displayed as following: